## Sheet1
FCC_ID | config | fig | device_class | funit | flow | fhigh | RBW | d | xaxis_type | yaxis_type | ylow | yhigh | peak2avg_dB_correction
2AFYJ-OASLV204 | 4 | 51a | A | MHz | 1000 | 6000 | 1 | 3 | linear | linear | 30 | 100 | 0
2AFYJ-OASLV204 | 4 | 51b | A | MHz | 6000 | 12000 | 1 | 3 | linear | linear | 30 | 80 | 0
2AFYJ-OASLV204 | 4 | 52a | A | MHz | 12000 | 18000 | 1 | 3 | linear | linear | 40 | 80 | 0
2AFYJ-OASLV204 | 4 | 52b | A | MHz | 18000 | 26500 | 1 | 3 | linear | linear | 40 | 80 | 0
2AFYJ-OASLV204 | 4 | 53 | A | MHz | 26500 | 40000 | 1 | 3 | linear | linear | 40 | 80 | 0
BCGA2439 | 2 | 10 | B | GHz | 1 | 30 | 0.001 | 3 | linear | linear | 0 | 100 | 0
BCGA2442 | 1 | 7 | B | GHz | 1 | 30 | 0.001 | 3 | linear | linear | 0 | 100 | 0
2ATQM1000-0375 | 1 | 17 | A | GHz | 1 | 18 | 0.001 | 3 | linear | linear | -20 | 80 | 0
2ATQM1000-0375 | 1 | 18a | A | GHz | 18 | 26 | 0.001 | 3 | linear | linear | -10 | 80 | 0
2ATQM1000-0375 | 1 | 18b | A | GHz | 26 | 40 | 0.001 | 3 | linear | linear | -10 | 80 | 0
BCGA2485 | 1 | 8 | B | MHz | 1000 | 30000 | 1 | 3 | linear | linear | 0 | 100 | 0
BCGA2615 | 1 | 8 | B | MHz | 1000 | 30000 | 1 | 3 | linear | linear | 0 | 100 | 0
2AGAK-X7 | 1 | 21 | B | MHz | 1000 | 18000 | 1 | 3 | linear | linear | 0 | 80 | 0
2AGAK-X7 | 1 | 23 | B | MHz | 18000 | 25000 | 1 | 3 | linear | linear | 0 | 80 | 0
2ADHY-TRACKER-300W | 1 | 2 | A | MHz | 1000 | 6000 | 1 | 3 | log | linear | 0 | 90 | 13.2
2ADHY-TRACKER-300W | 1 | 3 | A | MHz | 6000 | 18000 | 1 | 3 | log | linear | 0 | 90 | 13.4
2ADHY-TRACKER-300W | 1 | 4 | A | MHz | 18000 | 26500 | 1 | 3 | log | linear | 0 | 100 | 13.4
2ADHY-TRACKER-300W | 1 | 5 | A | MHz | 26500 | 40000 | 1 | 3 | log | linear | 0 | 100 | 13.2
2ADHY-TRACKER-800W | 1 | 32 | A | MHz | 1000 | 18000 | 1 | 3 | log | linear | 0 | 90 | 12.9
2ADHY-TRACKER-800W | 1 | 33 | A | MHz | 18000 | 26500 | 1 | 3 | log | linear | 0 | 100 | 13.4
2ADHY-TRACKER-800W | 1 | 34 | A | MHz | 26500 | 40000 | 1 | 3 | log | linear | 0 | 100 | 13.6
2AWLG-MEB11V6 | 1 | 24 | B | MHz | 1000 | 6000 | 1 | 3 | linear | linear | 0 | 100 | 12
2AWLG-MEB11V6 | 1 | 26 | B | MHz | 6000 | 18000 | 1 | 3 | linear | linear | 0 | 100 | 12.2
2AWLG-MEB11V6 | 1 | 28 | B | MHz | 18000 | 26500 | 1 | 3 | linear | linear | 0 | 100 | 5.7
2AWLG-MEB11V6 | 1 | 30 | B | MHz | 26500 | 30000 | 1 | 3 | linear | linear | 0 | 100 | 10.7
2AXQY-I3TFMICG02A | 1 | 12 | A | GHz | 1 | 8 | 0.001 | 3 | log | linear | 10 | 90 | 0
2AXQY-I3TFMICG02A | 1 | 13 | A | GHz | 8 | 18 | 0.001 | 3 | log | linear | 10 | 90 | 0
2ASO2PANDAR40P | 2 | 31 | A | MHz | 1000 | 18000 | 1 | 3 | log | linear | -20 | 80 | 12.6
SWSH1000 | 1 | 18 | B | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 80 | 0
A3LSMT978U | 4 | 25 | B | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 80 | 0
2ASO2CBPANDARQT | 1 | 24 | A | MHz | 1000 | 18000 | 1 | 3 | log | linear | -20 | 80 | 16.9
BCGA2282 | 1 | 15 | A | GHz | 1 | 18 | 0.001 | 10 | log | linear | 0 | 100 | 0
BCGA2289 | 1 | 17 | B | MHz | 1000 | 18000 | 1 | 3 | linear | linear | 0 | 100 | 0
2ATXITTESWA664LAB2 | 1 | 19 | A | GHz | 1 | 18 | 0.001 | 3 | log | linear | 10 | 90 | 0
2AVB6-PA10006882 | 1 | 27 | A | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 80 | 0
ZCAXE315XDA | 2 | 19 | B | GHz | 1 | 18 | 0.001 | 3 | log | linear | 10 | 80 | 0
2AXRT-WTC | 2 | 17 | A | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 120 | 0
2ASO2PANDARQTV2 | 1 | 24 | A | MHz | 1000 | 18000 | 1 | 3 | log | linear | -20 | 80 | 15.1
2AUIVTTCVISION312 | 1 | 19 | B | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 80 | 0
BCGA2179 | 1 | 17 | B | MHz | 1000 | 30000 | 1 | 3 | linear | linear | 0 | 100 | 0
2ASO2PANDAR64 | 1 | 18 | A | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 100 | 0
SIT-KT570 | 1 | 13 | B | GHz | 1 | 18 | 0.001 | 3 | log | linear | 0 | 120 | 0
2AVNR-AC13 | 1 | 3 | A | GHz | 1 | 9 | 0.001 | 3 | log | linear | 30 | 100 | 0
2AVNR-AC13 | 1 | 4 | A | GHz | 9 | 18 | 0.001 | 3 | log | linear | 0 | 90 | 0
2AVNR-AC13 | 1 | 5 | A | GHz | 18 | 26.5 | 0.001 | 3 | linear | linear | 0 | 80 | 0
2AVNR-AC13 | 1 | 6 | A | GHz | 26.5 | 40 | 0.001 | 1 | linear | linear | 0 | 80 | 0
BCGA2438 | 1 | 4 | B | MHz | 1000 | 30000 | 1 | 3 | linear | linear | -10 | 100 | 0
2AB83-D332A | 3 | 81 | A | MHz | 1000 | 18000 | 1 | 3 | log | linear | 0 | 100 | 0
BCGA2337 | 1 | 10 | B | MHz | 1000 | 30000 | 1 | 3 | linear | linear | 0 | 90 | 0

## shuffled class A
Randomly shuffled Class A device list
Class | FCC ID | Status | Comments
A | 2AFYJ-OASLV204 | accepted
A | 2AXQY-I3TFMICG02A | accepted | report indicates measurements taken at 3m (p.12)
A | 2AU3MEVA415 | rejected | only peak spikes shown in spectral plot
A | 2ASO2PANDAR40P | accepted | report indicates measurements taken at 3m (p.28)
A | 2A2JW-H-7726-12 | rejected | spectral plots not provided in EMC test report
A | 2ATQM1000-0375 | accepted | Horiz and vert traces are very similar
A | 2ASO2CBPANDARQT | accepted | report indicates measurements taken at 3m (p.24)
A | 2AV6DEVBOOST01 | rejected | only peak spikes shown in spectral plot
A | BCGA2282 | accepted | vertical trace has higher peaks
A | 2A29TITSHRW110S2109 | rejected | only has spectral plots up to 1GHz
A | 2ATXITTESWA664LAB2 | accepted | report indicates measurements taken at 3m (p.16)
A | 2ADHY-TRACKER-300W | accepted | report indicates measurements taken at 3m (p.30)
A | 2AVWKWPU1000W1ACUS | rejected | only has spectral plots up to 12.75GHz
A | 2ADHY-TRACKER-800W | accepted | report indicates measurements taken at 3m (p.26)
A | 2ARVCKS | rejected | only peak spikes shown in spectral plot
A | 2AVB6-PA10006882 | accepted | report indicates measurements taken at 3m (p.27)
A | 2A38RDAP64X | rejected | only peak spikes shown in spectral plot
A | 2AVRQ-DD52R-E | rejected | only has spectral plots up to 1GHz
A | U8G-P1941 | rejected | only peak spikes shown in spectral plot
A | 2AXRT-WTC | accepted | report indicates measurements taken at 3m (p.24)
A | 2ASO2PANDARQTV2 | accepted | report indicates measurements taken at 3m (p.16)
A | 2AKUE-WIDELINE | rejected | only has spectral plots up to 12GHz
A | 2AJRSIRTTRU | rejected | only has spectral plots up to 12GHz
A | 2A2ED11032 | rejected | only has spectral plots up to 1GHz
A | 2AUGUNOVOMARK2 | rejected | only has spectral plots up to 2GHz
A | 2A267-LBAVI12T-CV | rejected | only has spectral plots up to 2.5GHz
A | 2ARVF-MLU-X1001 | rejected | only peak plots provided with no peak to avg data
A | 2A2EA8575FLTX | rejected | only has spectral plots up to 6GHz
A | U8G-P1930LITER6 | rejected | only peak spikes shown in spectral plot
A | U8G-P1835 | rejected | only peak spikes shown in spectral plot
A | 2A267-LBAVI10-CV | rejected | only has spectral plots up to 6GHz
A | 2AXECLD230EKS-FPN2 | rejected | only has spectral plots up to 6GHz
A | 2AVRQ-DD52R-E-RF | rejected | only has spectral plots up to 6GHz
A | 2ASO2PANDAR40M | rejected | only has spectral plots up to 1GHz
A | ACJAE-V06GXR | rejected | only has spectral plots up to 1GHz
A | 2ASO2PANDAR64 | accepted | report indicates measurements taken at 3m (p.9)
A | 2AKUE-SLIMLINE | rejected | only has spectral plots up to 12.75GHz
A | 2AUODFFAPCATM1US | rejected | only has spectral plots up to 13GHz
A | 2AVNR-AC13 | accepted | measurements taken at 3m for 1-26.5 GHz and 1m above (p.7)
A | V7IACM9PN | rejected | only has spectral plots up to 1GHz
A | 2A5W4EWS-SWTI-000 | rejected | only has spectral plots up to 10GHz
A | 2AVNORMICAV | rejected | only peak spikes shown in spectral plot
A | 2AB83-D332A | accepted | measurements taken at 3m as shown in photos of setup (p.87)
A | U8G-P1X05B
A | 2AB83-TYPEA530
A | 2AJRSIRTTAU
A | 2A2MT-PIA
A | VW2-107377
A | 2AHDRTDCE210
A | V7IACM9EC
A | 2ASO2PANDAR128
A | 2A5W4EWS-VWTI-000
A | 2A22CAIO-360
A | V7IACM9EI
A | 2AS57OSSIACOTATX203
A | 2ASO2CBPANDARXT
A | X4D-R4600-2AX
A | 2AFYJ-OASLV202
A | 2AWRK-YS-KT008
A | 2AXDGDQAPT
A | 2AJRSIRTTCP
A | U8G-P1930LITER6M
A | U8G-P1208L
A | 2AUTY-106304-V03
A | 2AVRQ-DD51-E
A | 2A2WZ-SF20-B10
A | 2A5W4EWS-SVWTI-000
A | 2AB83-2X
A | 2AU4HN4000P
A | YQ7-TN-UHF-Q300
A | 2A29T-ITSLRW210V11
A | 2AP4I-P4H
A | YCP-MB1263-001
A | XS5-WCS2
A | 2AXECLD290EJS-FPN1
A | 2AXRQWFAG
A | 2A2MT-PIC
A | 2ARVF-MLU-X1000
A | 2A267-LBAVI7-CV
A | 2AZC5-01
A | U8G-P1930LITER4
A | 2AVWKWSU1000W
A | 2AB83-A1SD
A | 2AU86XDROP-8
A | 2AZDM-HNTOUT
A | 2AVNORMICAM
A | U8G-P1FIBER5G
A | 2AHQR-11500A
A | U8G-P1AX02
A | VW2-107378
A | 2AX59A040
A | 2A2YU-DS0-SEEN
A | 2AXECLD230EKS-FPN1
A | 2ARVF-MLU370-M8
A | 2AXRT-WLC
A | 2AVRQ-DD51-E-RF
A | 2ANOS-ISC
A | 2ARVF-MLU290
A | 2AX59A026
A | 2ARHA-C00030
A | 2AVNFCASY

## shuffled class B
Randomly shuffled Class B device list
Class | FCC ID | Status | Comments
B | BCGA2439 | accepted
B | 2AVB6-E702617 | rejected | only has spectral plots up to 6GHz
B | BCGA2330 | rejected | only has spectral plots up to 3GHz
B | 2AWGQN315 | rejected | only has spectral plots up to 6GHz
B | O57TABA101LV | rejected | only has spectral plots up to 3GHz
B | 2AHLZ-COERBOOKX | rejected | only has spectral plots up to 1GHz
B | BCGA2442 | accepted
B | 2AHLZ-RZBOX | rejected | only has spectral plots up to 1GHz
B | 2AHLZ-HEROBOOKPRO | rejected | spectral plots not provided in EMC test report
B | 2AWGQI515 | rejected | only has spectral plots up to 6GHz
B | 2AYKQMT02 | rejected | only has spectral plots up to 6GHz
B | 2AVTH-LO14WB | rejected | only has spectral plots up to 6GHz
B | BCGA2485 | accepted | Horiz and vert traces are very similar
B | YS2OPSTI7W-TI7WPS | rejected | only peak traces provided without peak2avg calibration
B | BCGA2615 | accepted
B | 2AGAK-X7 | accepted | Horizontal traces marginally higher than vertical
B | 2AWLG-MEB11V6 | accepted | Vertical traces marginally higher than horizontal
B | SWSH1000 | accepted
B | 2AHLZ-HEROBOOKAIR | rejected | only has spectral plots up to 6GHz
B | 2AZQ6-AN116 | rejected | only has spectral plots up to 1GHz
B | A3LSMT978U | accepted
B | BCGA2289 | accepted
B | 2AHLZ-HI10GO | rejected | only has spectral plots up to 1GHz
B | ZCAXE315XDA | accepted | plots for 2 samples provided. Just select setups 1 and 3
B | 2AVTH-HTLB14INC4Z1 | rejected | only has spectral plots up to 6GHz
B | 2AXC9N253 | rejected | only has spectral plots up to 6GHz
B | 2AUR9-MYX216A | rejected | only has spectral plots up to 6GHz
B | 2AWGQI715 | rejected | only has spectral plots up to 6GHz
B | 2AVB6-E702613 | rejected | only has spectral plots up to 6GHz
B | 2AVTH-THINNOTE-A | rejected | only has spectral plots up to 6GHz
B | 2AR42APPC10SLB | rejected | spectral plots not provided in EMC test report
B | 2AUIVTTCVISION312 | accepted
B | 2AWLG-MEB11V5 | rejected | only has spectral plots up to 1GHz
B | A2HRCT6T48 | rejected | only has spectral plots up to 6GHz
B | YS2OPSTI3W-TI3WPS | rejected | only peak plots provided with no peak to avg data
B | BCGA2179 | accepted
B | ZNFT600TS | rejected | only has spectral plots up to 1GHz
B | BCGA2338 | rejected | only peak plots provided with no peak to avg data
B | SIT-KT570 | accepted
B | BCGA2438 | accepted
B | BCGA2337 | accepted
B | 2AWG5-AO02
B | 2AVTH-LO14WA
B | 2AACZ-M93A01
B | 2AHLZ-GEMIBOOKPRO
B | 2AYGCHYM-WX6
B | 2AHLZ-LARKBOXPRO
B | 2AVTH-THINNOTE-B
B | 2AKOLPZ0005
B | BCGA2348
B | O57TB132FU
B | 2AHLZ-LARKBOXX
B | 2AV3BSP5775
B | 2AUA5-IMACHINE-A1
B | 2AWGQI315
B | 2AVB6-E707550
B | 2AWLG-MEB11V4

## peak avg
dB difference between peak and average readings
See test report for 2ADHY-TRACKER-800W
https://apps.fcc.gov/eas/GetApplicationAttachment.html?id=5323510
p.32 | 1 to 18 GHz
peak | average | dB diff
60.51 | 47.16 | 13.35
59.09 | 45.84 | 13.25
54.98 | 45.58 | 9.4
54.87 | 41.89 | 12.98
49.38 | 35.59 | 13.79
36.52 | 22.18 | 14.34
|  | 12.8517 | Average dB difference
p.33 | 18 to 26.5 GHz
peak | average | dB diff
57.15 | 43.8 | 13.35
55.49 | 41.76 | 13.73
54.63 | 41.32 | 13.31
54.42 | 41.11 | 13.31
52.68 | 39.64 | 13.04
51.26 | 37.65 | 13.61
|  | 13.3917 | Average dB difference
p.34 | 26.5 to 40 GHz
peak | average | dB diff
71.02 | 57.17 | 13.85
69.69 | 56.68 | 13.01
69.09 | 55.19 | 13.9
65.28 | 51.46 | 13.82
64.68 | 51.29 | 13.39
62.56 | 49.19 | 13.37
|  | 13.5567 | Average dB difference
See test report for 2ADHY-TRACKER-300W
https://apps.fcc.gov/eas/GetApplicationAttachment.html?id=5196266
p.30 | 1 to 6 GHz
peak | average | dB diff
51.9 | 38.68 | 13.22
51.75 | 38.47 | 13.28
49.86 | 36.77 | 13.09
|  | 13.1967 | Average dB difference
p.31 | 6 to 18 GHz
peak | average | dB diff
69.13 | 55.66 | 13.47
61.11 | 47.89 | 13.22
58.48 | 45.08 | 13.4
|  | 13.3633 | Average dB difference
p.32 | 18 to 26.5 GHz
peak | average | dB diff
55.44 | 42.43 | 13.01
53.15 | 40.2 | 12.95
53.04 | 39.31 | 13.73
51.67 | 38.33 | 13.34
50.44 | 36.61 | 13.83
49.47 | 35.85 | 13.62
|  | 13.4133 | Average dB difference
p.32 | 26.5 to 40 GHz
peak | average | dB diff
70.67 | 57.22 | 13.45
69.97 | 56.58 | 13.39
67.89 | 54.95 | 12.94
64.72 | 51.34 | 13.38
63.91 | 50.86 | 13.05
62.49 | 49.22 | 13.27
|  | 13.2467 | Average dB difference
See test report for 2AWLG-MEB11V6
https://apps.fcc.gov/eas/GetApplicationAttachment.html?id=5240405
p.24 | 1 to 6 GHz
peak | average | dB diff
50.28 | 38.47 | 11.81
48.27 | 36.11 | 12.16
51.07 | 38.94 | 12.13
|  | 12.0333 | Average dB difference
p.26 | 6 to 18 GHz
peak | average | dB diff
64.73 | 52.49 | 12.24
|  | 12.24 | Average dB difference
p.28 | 18 to 26.5 GHz
peak | average | dB diff
52.5 | 46.81 | 5.69
|  | 5.69 | Average dB difference
p.30 | 26.5 to 40 GHz
peak | average | dB diff
54.29 | 43.56 | 10.73
|  | 10.73 | Average dB difference
See test report for 2ASO2PANDAR40P
https://apps.fcc.gov/eas/GetApplicationAttachment.html?id=5240405
p.28 | 1 to 18 GHz
peak | average | dB diff
52.329 | 40.031 | 12.298
55.623 | 41.128 | 14.495
62.859 | 49.445 | 13.414
|  | 13.4023 | Average dB difference
p.28 | 1 to 18 GHz
peak | average | dB diff
45.7 | 31.856 | 13.844
55.154 | 44.014 | 11.14
63.183 | 50.433 | 12.75
|  | 12.578 | Average dB difference
See test report for 2ASO2CBPANDARQT
https://apps.fcc.gov/eas/GetApplicationAttachment.html?id=5098001
p.24 | 1 to 18 GHz
peak | average | dB diff
49.915 | 24.196 | 25.719
45.787 | 31.353 | 14.434
50.98 | 40.321 | 10.659
|  | 16.9373 | Average dB difference
See test report for 2ASO2PANDARQTV2
p.24 | 1 to 18 GHz
peak | average | dB diff
46.689 | 27.771 | 18.918
54.785 | 41.57 | 13.215
61.786 | 48.49 | 13.296
|  | 15.143 | Average dB difference